## CF
Market statistics | [8 empty] | Market statistics Public grid (*) Energy Capability Factor for run-of-river plants (1) 2023 (last updated: 02 2024)
Public grid (*)
Energy Capability Factor for run-of-river plants (1) 2023
(last updated: 02 2024)
Energy Capability Factor for run-of-river plants (1)
Month | 2022 | 2023 | MAX 2012 to 2021 | MAX 2002 to 2021 | MAX since 1955 | min 2012 to 2021 | min 2002 to 2021 | min since 1955
Unit | [1] | [1] | [1] | [1] | [1] | [1] | [1] | [1]
January | 1.0839 | 0.92025 | 1.4836 | 1.4836 | 1.4836 | 0.70028 | 0.70028 | 0.7
February | 1.071 | 1.0312 | 1.3751 | 1.3751 | 1.42 | 0.88986 | 0.7952 | 0.64
March | 0.78068 | 0.8802 | 1.312 | 1.312 | 1.38 | 0.86588 | 0.8129 | 0.68
April | 0.88124 | 0.97343 | 1.1865 | 1.351 | 1.351 | 0.78724 | 0.76379 | 0.63097
May | 0.90689 | 1.0985 | 1.1082 | 1.1495 | 1.1722 | 0.85699 | 0.68323 | 0.68323
June | 0.86172 | 0.86609 | 1.1279 | 1.1279 | 1.1279 | 0.78836 | 0.78135 | 0.78135
July | 0.71872 | 0.79298 | 1.086 | 1.109 | 1.1321 | 0.75343 | 0.68095 | 0.68095
August | 0.70228 | 1.0753 | 1.2124 | 1.2124 | 1.2124 | 0.66322 | 0.61191 | 0.61191
September | 0.86481 | 0.92027 | 1.3141 | 1.3141 | 1.3141 | 0.81061 | 0.74959 | 0.69026
October | 0.98937 | 0.74108 | 1.3456 | 1.3661 | 1.4102 | 0.73709 | 0.73709 | 0.66
November | 0.85083 | 1.4233 | 1.4029 | 1.6225 | 1.6225 | 0.78581 | 0.77037 | 0.66
December | 0.90382 | 1.531 | 1.2364 | 1.4443 | 1.531 | 0.79539 | 0.75991 | 0.69
Year | 0.87051 | 1.0045 | 1.1107 | 1.1107 | 1.1603 | 0.92103 | 0.86688 | 0.84
(*) In terms of electricity statistics all producers other than autogenerators.
(1) For monthly statistics plants from public producers that have a minimum capacity of at least 10 MWe or are connected to the high-voltage grid. All plants for these producers are included.
Source: E-Control

## Res
Market statistics | [9 empty] | Market statistics Public grid (*) Big reservoirs (1) at end of month 2023 (last updated: 02 2024)
Public grid (*)
Big reservoirs (1) at end of month 2023
(last updated: 02 2024)
Big reservoirs (1) at end of month
| Energy Content (2) |  | Fullness Factor |  |  |  | Electrical energy capability of covered reservoirs |  | 2022
Month | 2022 | 2023 | 2022 | 2023 | MAX 2007 to 2021 | min 2007 to 2021 | 2022 | 2023 | 2023
Unit | GWh | GWh | % | % | % | % | GWh | GWh | 2022 in %
January | 1441.6389 | 1857.3467 | 44.39% | 56.87% | 64.3% | 24.34% | 3247.7862 | 3265.7088 | 2022 in %
February | 1291.3791 | 1427.8889 | 39.76% | 43.72% | 51.49% | 22.77% | 3247.7862 | 3265.7088 | MAX 2007 to 2021 in %
March | 846.8484 | 927.4319 | 26.07% | 28.4% | 35.45% | 14.88% | 3247.7862 | 3265.7088 | min 2007 to 2021 in %
April | 658.7575 | 718.739 | 20.28% | 22.01% | 31.35% | 11.07% | 3247.7862 | 3265.7088
May | 1374.0665 | 1123.2701 | 42.31% | 34.4% | 43.49% | 18.36% | 3247.7862 | 3265.7088
June | 1965.2196 | 1764.3131 | 60.51% | 54.03% | 66.92% | 44.22% | 3247.7862 | 3265.7088
July | 2493.7634 | 2421.2833 | 76.78% | 74.14% | 82.2% | 59.42% | 3247.7862 | 3265.7088
August | 2688.6737 | 2789.4914 | 82.46% | 85.42% | 90.81% | 68.81% | 3260.7088 | 3265.7088
September | 2735.1315 | 2704.38 | 83.88% | 82.81% | 90.81% | 72.08% | 3260.7088 | 3265.7088
October | 2802.249 | 2625.3522 | 85.81% | 80.39% | 85.61% | 61.43% | 3265.7088 | 3265.7088
November | 2599.181 | 2451.0924 | 79.59% | 75.06% | 83.32% | 54.79% | 3265.7088 | 3265.7088
December | 2410.534 | 2280.6378 | 73.81% | 69.84% | 74.85% | 42.04% | 3265.7088 | 3265.7088
(*) In terms of electricity statistics all producers other than autogenerators.
(1) Covering all head installations (reservoirs) that have a minimum capacity of at least 10 MWe or are connected to the high-voltage grid.
(2) Related to the main head installation of a system.
Source: E-Control

## Cal
Market statistics | [7 empty] | Market statistics Public grid (*) Fuel Stocks (1) at end of month 2023 (last updated: 02 2024)
Public grid (*)
Fuel Stocks (1) at end of month 2023
(last updated: 02 2024)
Fuel Stocks (1) at end of month
| Stocks |  | Stocks in % of Monthly Maximum |  |  |  | 2022
Month | 2022 | 2023 | 2022 | 2023 | MAX 2002 to 2021 | min 2002 to 2021 | 2023
Unit | GWh | GWh | % | % | % | % | 2022 in % of Mon. Max.
January | - | - | - | - | 100% | 63.17% | 2023 in % of Mon. Max.
February | - | - | - | - | 100% | 57.39% | MAX 2002 to 2021 in %
March | - | - | - | - | 100% | 33.89% | min 2002 to 2021 in %
April | - | - | - | - | 100% | 14.2%
May | - | - | - | - | 100% | 14.2%
June | - | - | - | - | 100% | 14.2%
July | - | - | - | - | 99.86% | 14.2%
August | - | - | - | - | 100% | 14.2%
September | - | - | - | - | 100% | 14.2%
October | - | - | - | - | 100% | 13.99%
November | - | - | - | - | 100% | 13.86%
December | - | - | - | - | 99.85% | 13.86%
(*) In terms of electricity statistics all producers other than autogenerators.
(1) Covering all thermal plants (stocks) that have a minimum capacity of at least 25 MWe or are connected to the high-voltage grid.
Source: E-Control