## CF
Market statistics | [8 empty] | Market statistics Public grid (*) Energy Capability Factor for run-of-river plants (1) 2024 (last updated: 01 2025)
Public grid (*)
Energy Capability Factor for run-of-river plants (1) 2024
(last updated: 01 2025)
Energy Capability Factor for run-of-river plants (1)
Month | 2023 | 2024 | MAX 2013 to 2022 | MAX 2003 to 2022 | MAX since 1955 | min 2013 to 2022 | min 2003 to 2022 | min since 1955
Unit | [1] | [1] | [1] | [1] | [1] | [1] | [1] | [1]
January | 0.92025 | 1.4918 | 1.4836 | 1.4836 | 1.4918 | 0.70028 | 0.70028 | 0.7
February | 1.0312 | 1.4745 | 1.3751 | 1.3751 | 1.4745 | 0.88986 | 0.7952 | 0.64
March | 0.8802 | 1.0716 | 1.312 | 1.312 | 1.38 | 0.78068 | 0.78068 | 0.68
April | 0.97343 | 1.1139 | 1.1865 | 1.351 | 1.351 | 0.78724 | 0.76379 | 0.63097
May | 1.0985 | 1.0243 | 1.1082 | 1.1495 | 1.1722 | 0.85699 | 0.68323 | 0.68323
June | 0.86609 | 1.0685 | 1.1279 | 1.1279 | 1.1279 | 0.78836 | 0.78135 | 0.78135
July | 0.79298 | 1.0436 | 1.086 | 1.109 | 1.1321 | 0.71872 | 0.68095 | 0.68095
August | 1.0753 | 0.89673 | 1.2124 | 1.2124 | 1.2124 | 0.66322 | 0.61191 | 0.61191
September | 0.92027 | 1.1532 | 1.3141 | 1.3141 | 1.3141 | 0.81061 | 0.74959 | 0.69026
October | 0.74108 | 1.5354 | 1.3456 | 1.3456 | 1.5354 | 0.73709 | 0.73709 | 0.66
November | 1.4233 | 0.94433 | 1.4029 | 1.4029 | 1.6225 | 0.78581 | 0.77037 | 0.66
December | 1.531 | 0.96851 | 1.145 | 1.2364 | 1.531 | 0.79539 | 0.75991 | 0.69
Year | 1.0045 | 1.1256 | 1.0699 | 1.1107 | 1.1603 | 0.87051 | 0.86688 | 0.84
(*) In terms of electricity statistics all producers other than autogenerators.
(1) For monthly statistics plants from public producers that have a minimum capacity of at least 10 MWe or are connected to the high-voltage grid. All plants for these producers are included.
Source: E-Control

## Res
Market statistics | [9 empty] | Market statistics Public grid (*) Big reservoirs (1) at end of month 2024 (last updated: 01 2025)
Public grid (*)
Big reservoirs (1) at end of month 2024
(last updated: 01 2025)
Big reservoirs (1) at end of month
| Energy Content (2) |  | Fullness Factor |  |  |  | Electrical energy capability of covered reservoirs |  | 2023
Month | 2023 | 2024 | 2023 | 2024 | MAX 2008 to 2022 | min 2008 to 2022 | 2023 | 2024 | 2024
Unit | GWh | GWh | % | % | % | % | GWh | GWh | 2023 in %
January | 1857.3467 | 1540.2683 | 56.87% | 47.16% | 64.3% | 24.34% | 3265.7088 | 3265.7088 | 2023 in %
February | 1427.8889 | 1047.4473 | 43.72% | 32.07% | 51.49% | 22.77% | 3265.7088 | 3265.7088 | MAX 2008 to 2022 in %
March | 927.4319 | 578.1294 | 28.4% | 17.7% | 35.45% | 14.88% | 3265.7088 | 3265.7088 | min 2008 to 2022 in %
April | 718.739 | 520.4292 | 22.01% | 15.94% | 31.35% | 11.07% | 3265.7088 | 3265.7088
May | 1123.2701 | 937.5092 | 34.4% | 28.71% | 43.49% | 18.36% | 3265.7088 | 3265.7088
June | 1764.3131 | 2013.1491 | 54.03% | 61.65% | 66.92% | 44.22% | 3265.7088 | 3265.7088
July | 2421.2833 | 2455.2343 | 74.14% | 75.18% | 82.2% | 59.42% | 3265.7088 | 3265.7088
August | 2789.4914 | 2627.7256 | 85.42% | 80.46% | 90.81% | 68.81% | 3265.7088 | 3265.7088
September | 2704.38 | 2861.693 | 82.81% | 87.63% | 90.81% | 72.08% | 3265.7088 | 3265.7088
October | 2625.3522 | 2636.7307 | 80.39% | 80.74% | 85.81% | 61.43% | 3265.7088 | 3265.7088
November | 2451.0924 | 2286.5331 | 75.06% | 70.02% | 79.59% | 54.79% | 3265.7088 | 3265.7088
December | 2280.6378 | 1888.3031 | 69.84% | 57.82% | 74.85% | 42.04% | 3265.7088 | 3265.7088
(*) In terms of electricity statistics all producers other than autogenerators.
(1) Covering all head installations (reservoirs) that have a minimum capacity of at least 10 MWe or are connected to the high-voltage grid.
(2) Related to the main head installation of a system.
Source: E-Control