## Bil_EN
Operational statistics
Public Grid in Austria
Monthly Electricity Balance 2024
(last updated: 04 2024)
| Production and Imports |  |  | Usage
Month | Gross Production (a) | Physi- cal Imports | Produc- tion and Imports= Usage | Physi- cal Exports | Gross Consump- tion | Used for Pumped Storage | Domestic Consump- tion (b) | Power Plants Own Use (c) | Supply to the Public Grids (b) | Network Losses | Consumption | Power Plants Own Use (d) | Supply to final Consum-ption (1)
2024
Unit | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh
January | 6762.2663 | 1776.5526 | 8538.8189 | 2324.6257 | 6214.1932 | 402.5523 | 5811.6409 | 72.2158 | 5739.4251 | 309.9332 | 5429.4919 | 41.5019 | 5387.99
February | 5507.5004 | 1781.8306 | 7289.331 | 1916.7345 | 5372.5965 | 327.4384 | 5045.1581 | 55.5252 | 4989.6329 | 255.7773 | 4733.8556 | 36.3457 | 4697.51
March | 5639.2599 | 1584.8066 | 7224.0665 | 1822.4792 | 5401.5873 | 364.4701 | 5037.1171 | 52.3203 | 4984.7968 | 249.5422 | 4735.2547 | 41.1555 | 4694.0992
April
May
June
July
August
September
October
November
December
Year | 17909.0265 | 5143.1899 | 23052.2163 | 6063.8394 | 16988.377 | 1094.4608 | 15893.9161 | 180.0613 | 15713.8548 | 815.2526 | 14898.6022 | 119.0031 | 14779.5992
Changes
Unit | % | % | % | % | % | % | % | % | % | % | % | % | %
January | 36.2682 | -37.1999 | 9.5933 | 41.2451 | 1.1168 | -17.18 | 2.6881 | 13.6587 | 2.5636 | 1.89 | 2.6023 | 30.1541 | 2.4353
February | 15.1367 | -25.4297 | 1.6231 | 14.8427 | -2.3856 | -13.1749 | -1.592 | -9.0335 | -1.5023 | -3.3549 | -1.4002 | 27.9182 | -1.5747
March | 10.5333 | -25.3804 | -0.022792 | 15.4269 | -4.3427 | -6.2157 | -4.2042 | -10.7149 | -4.1309 | -2.7126 | -4.2045 | 19.6554 | -4.3716
April
May
June
July
August
September
October
November
December
Year | 20.6175 | -29.9504 | 3.8856 | 23.9106 | -1.7801 | -12.5695 | -0.93831 | -1.7002 | -0.92951 | -1.2222 | -0.91345 | 25.6699 | -1.0819
Changes
Unit | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh |  | GWh | GWh
January | 1799.7963 | -1052.3494 | 747.4469 | 678.8155 | 68.6315 | -83.5045 | 152.1359 | 8.6784 | 143.4575 | 5.7489 | 137.7086 | 9.6151 | 128.0935
February | 724.0555 | -607.6322 | 116.4234 | 247.7261 | -131.3027 | -49.6857 | -81.617 | -5.514 | -76.103 | -8.8789 | -67.2241 | 7.9325 | -75.1566
March | 537.3951 | -539.042 | -1.6469 | 243.5754 | -245.2222 | -24.1559 | -221.0663 | -6.2788 | -214.7875 | -6.9578 | -207.8297 | 6.7605 | -214.5902
April
May
June
July
August
September
October
November
December
Year | 3061.2469 | -2199.0235 | 862.2234 | 1170.1169 | -307.8935 | -157.3461 | -150.5474 | -3.1144 | -147.433 | -10.0877 | -137.3453 | 24.3081 | -161.6533
2023
Unit | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh |  | GWh | GWh
January | 4962.47 | 2828.902 | 7791.372 | 1645.8103 | 6145.5617 | 486.0567 | 5659.505 | 63.5374 | 5595.9676 | 304.1842 | 5291.7833 | 31.8867 | 5259.8966
February | 4783.4448 | 2389.4628 | 7172.9076 | 1669.0084 | 5503.8992 | 377.1241 | 5126.7751 | 61.0392 | 5065.7359 | 264.6562 | 4801.0798 | 28.4132 | 4772.6665
March | 5101.8648 | 2123.8486 | 7225.7133 | 1578.9038 | 5646.8095 | 388.6261 | 5258.1835 | 58.5991 | 5199.5843 | 256.4999 | 4943.0844 | 34.395 | 4908.6894
April
May
June
July
August
September
October
November
December
Year | 14847.7796 | 7342.2133 | 22189.9929 | 4893.7225 | 17296.2704 | 1251.8069 | 16044.4635 | 183.1757 | 15861.2878 | 825.3403 | 15035.9475 | 94.695 | 14941.2525
Annotation:
The public grid includes all consumption and production on the Austrian federal territory.
(1) Corresponds to final energy consumption according to the energy balance, but including electricity consumption of the energy sector: (e.g. production or supply of oil, natural gas and district heat, refineries or furnaces)
(a) For monthly statistics plants from producers that have a minimum capacity of at least 10 MWe or are connected to the high-voltage grid.
All plants for these producers are included. Only aggregate numbers are known for the injection of other power plants.
(b) Without Used for Pumped Storage
(c) Power Plants Own Use: Out of own production
(d) Power Plants Own Use: Supplied by the public grid
Source: E-Control

## BilQuota_EN
Operational statistics
Public Grid in Austria
Monthly Electricity Balance 2024
(last updated: 04 2024)
| Production and Imports |  |  | Usage
Month | Gross Production (a) | Physi- cal Imports | Produc- tion and Imports= Usage | Physi- cal Exports | Gross Consump- tion | Used for Pumped Storage | Domestic Consump- tion (b) | Power Plants Own Use (c) | Supply to the Public Grids (b) | Network Losses | Consumption | Power Plants Own Use (d) | Supply to final Consum-ption (1)
Yearly Quota
Unit | % | % | % | % | % | % | % | % | % | % |  | % | %
January | 37.759 | 34.5418 | 37.0412 | 38.3359 | 36.5791 | 36.7809 | 36.5652 | 40.1062 | 36.5246 | 38.0168 | 36.443 | 34.8746 | 36.4556
February | 30.7527 | 34.6445 | 31.621 | 31.6093 | 31.6251 | 29.9178 | 31.7427 | 30.8368 | 31.7531 | 31.374 | 31.7738 | 30.5418 | 31.7837
March | 31.4884 | 30.8137 | 31.3378 | 30.0549 | 31.7958 | 33.3013 | 31.6921 | 29.0569 | 31.7223 | 30.6092 | 31.7832 | 34.5836 | 31.7607
April
May
June
July
August
September
October
November
December
Year | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Monthly Quota
Unit | % | % | % | % | % | % | % | % | % | % | % | % | %
January | 79.1944 | 20.8056 | 100 | 27.2242 | 72.7758 | 4.7144 | 68.0614 | 0.84574 | 67.2157 | 3.6297 | 63.586 | 0.48604 | 63.0999
February | 75.5556 | 24.4444 | 100 | 26.2951 | 73.7049 | 4.492 | 69.2129 | 0.76173 | 68.4512 | 3.5089 | 64.9423 | 0.49861 | 64.4436
March | 78.0621 | 21.9379 | 100 | 25.2279 | 74.7721 | 5.0452 | 69.7269 | 0.72425 | 69.0026 | 3.4543 | 65.5483 | 0.5697 | 64.9786
April
May
June
July
August
September
October
November
December
Year | 77.689 | 22.311 | 100 | 26.3048 | 73.6952 | 4.7477 | 68.9475 | 0.7811 | 68.1664 | 3.5365 | 64.6298 | 0.51623 | 64.1136
Annotation:
The public grid includes all consumption and production on the Austrian federal territory.
(1) Corresponds to final energy consumption according to the energy balance, but including electricity consumption of the energy sector
(e.g. production or supply of oil, natural gas and district heat, refineries or furnaces)
(a) For monthly statistics plants from producers that have a minimum capacity of at least 10 MWe or are connected to the high-voltage grid.
All plants for these producers are included. Only aggregate numbers are known for the injection of other power plants.
(b) Without Used for Pumped Storage
(c) Power Plants Own Use: Out of own production
(d) Power Plants Own Use: Supplied by the public grid
Source: E-Control

## DiaDat_EN
Operational statistics | [8 empty] | Operational statistics Public Grid in Austria Monthly Electricity Balance (last updated: 04 2024) | Operational statistics Public Grid in Austria Monthly Electricity Balance - Quota (last updated: 04 2024) | Operational statistics Public Grid in Austria Elctricity Usage January until March 2024 (last updated: 04 2024) | January until March 2024 | 3 | 1 | January 2024
Public Grid in Austria | [13 empty] | 2 | February 2024
Monthly Electricity Balance 2024 | [13 empty] | 3 | March 2024
(last updated: 04 2024) | [13 empty] | 4 | April 2024
[14 empty] | 5 | May 2024
[14 empty] | 6 | June 2024
[14 empty] | 7 | July 2024
[14 empty] | 8 | August 2024
Month | Production | Physical Imports | Physical Exports | Pumped Storage | Own Use (autogeneration) | Network Losses | Power Plants Own Use (from grid) | Final Consumption | [5 empty] | 9 | September 2024
Unit | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | [5 empty] | 10 | October 2024
Jan | -6762.2663 | -1776.5526 | 2324.6257 | 402.5523 | 72.2158 | 309.9332 | 41.5019 | 5387.99 | [5 empty] | 11 | November 2024
Feb | -5507.5004 | -1781.8306 | 1916.7345 | 327.4384 | 55.5252 | 255.7773 | 36.3457 | 4697.51 | [5 empty] | 12 | December 2024
Mar | -5639.2599 | -1584.8066 | 1822.4792 | 364.4701 | 52.3203 | 249.5422 | 41.1555 | 4694.0992
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Year | -17909.0265 | -5143.1899 | 6063.8394 | 1094.4608 | 180.0613 | 815.2526 | 119.0031 | 14779.5992
Yearly Quota
Month | Production | Physical Imports | Physical Exports | Pumped Storage | Own Use (autogeneration) | Power Plants Own Use (from grid) | Network Losses | Final Consumption
Unit | % | % | % | % | % | % | % | %
Jan | -79.1944 | -20.8056 | 27.2242 | 4.7144 | 0.84574 | 0.48604 | 3.6297 | 63.0999
Feb | -75.5556 | -24.4444 | 26.2951 | 4.492 | 0.76173 | 0.49861 | 3.5089 | 64.4436
Mar | -78.0621 | -21.9379 | 25.2279 | 5.0452 | 0.72425 | 0.5697 | 3.4543 | 64.9786
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Year | -77.689 | -22.311 | 26.3048 | 4.7477 | 0.7811 | 0.51623 | 3.5365 | 64.1136
Source: E-Control