## Bil_PNMon
Austrian Electricity Balance
Public Grid (*)
Year 2017
(preliminary, partly estimated data)
Data in GWh | Gross Production (a) | Physical Imports | Physical Exports | Domestic Consump- tion | Used for Pumped Storage | Available to the Internal Market (b) | Own Consumption (c) | Delivery to / Use in the Public Grid (excl. Pumps) | Own Consumption (c) | Network Losses | Supply to final Consum-ption (e)
Others (b)
January | 5775.2152 | 2829.5788 | 1697.4596 | 6907.3343 | 565.5988 | 6341.7356 | 106.599 | 6235.1365 | 32.2594 | 339.2046 | 5863.6725
February | 4518.191 | 2971.1584 | 1453.1204 | 6036.2291 | 586.9611 | 5449.268 | 79.0448 | 5370.2232 | 27.5098 | 289.398 | 5053.3154
March | 5142.3906 | 2767.3948 | 1864.7752 | 6045.0101 | 515.3444 | 5529.6657 | 72.5336 | 5457.1321 | 33.1536 | 281.8381 | 5142.1404
April | 4660.7012 | 2637.0213 | 1866.6255 | 5431.097 | 483.2792 | 4947.8177 | 53.8083 | 4894.0095 | 33.9781 | 253.7463 | 4606.2851
May | 5131.0292 | 2156.3969 | 1948.0899 | 5339.3362 | 461.2494 | 4878.0868 | 52.3568 | 4825.73 | 36.8505 | 256.4553 | 4532.4242
June | 4786.5316 | 2184.0535 | 1785.4994 | 5185.0858 | 421.851 | 4763.2347 | 53.4628 | 4709.7719 | 35.9822 | 246.2361 | 4427.5536
July | 5007.4776 | 2017.0302 | 1808.6816 | 5215.8263 | 341.0653 | 4874.761 | 56.159 | 4818.602 | 37.302 | 250.8607 | 4530.4394
August | 5482.285 | 1698.6409 | 2013.4042 | 5167.5216 | 322.9781 | 4844.5435 | 60.0153 | 4784.5282 | 38.5546 | 248.4872 | 4497.4863
September | 5644.7037 | 1733.5005 | 2081.0412 | 5297.1631 | 319.9393 | 4977.2238 | 59.8906 | 4917.3332 | 38.6019 | 248.2719 | 4630.4594
October | 5197.0266 | 2704.1718 | 2179.9265 | 5721.2719 | 500.2965 | 5220.9754 | 64.2656 | 5156.7098 | 37.6746 | 279.4025 | 4839.6327
November | 5531.512 | 2724.945 | 2081.8769 | 6174.5801 | 468.6959 | 5705.8842 | 81.6414 | 5624.2428 | 32.4489 | 304.8527 | 5286.9412
December | 5379.1069 | 2879.9319 | 1810.8975 | 6448.1413 | 557.8363 | 5890.305 | 78.7744 | 5811.5306 | 34.371 | 315.7455 | 5461.414
Total | 62256.1707 | 29303.8239 | 22591.3978 | 68968.5968 | 5545.0954 | 63423.5014 | 818.5516 | 62604.9498 | 418.6867 | 3314.4989 | 58871.7642
Delivery to / Use in the Public Grid (excluding pumping)
Year on Year
Data in GWh | 2016 | 2017 | Monthly Changes |  | Cumulated Changes
|  |  | in GWh | in % | in GWh | in % | (*) Including all supply areas on the Austrian federal territory (control areas APG, TIWAG and VKW including VIW)
January | 5808.3105 | 6235.1365 | 426.826 | 7.349% | 426.826 | 7.349%
February | 5339.7221 | 5370.2232 | 30.5011 | 0.5712% | 457.3271 | 4.102% | (a) For monthly statistics only power plants that have a minimum capacity of at least 10 Mwe. Only aggregate numbers are known for the injection of other power plants.
March | 5526.7981 | 5457.1321 | -69.666 | -1.261% | 387.6611 | 2.325%
April | 4872.1223 | 4894.0095 | 21.8872 | 0.4492% | 409.5483 | 1.901%
May | 4734.0785 | 4825.73 | 91.6515 | 1.936% | 501.1998 | 1.907%
June | 4727.3424 | 4709.7719 | -17.5705 | -0.3717% | 483.6294 | 1.56% | (b)Without consumption for Pumped Strorage
July | 4754.2786 | 4818.602 | 64.3235 | 1.353% | 547.9528 | 1.532% | (c) Supplied by the public grid
August | 4692.1477 | 4784.5282 | 92.3804 | 1.969% | 640.3333 | 1.583% | (d) Out of own production
September | 4810.6362 | 4917.3332 | 106.697 | 2.218% | 747.0303 | 1.65% | (e) Corresponds to final energy consumption according to the energy balance, but including electricity consumption of the energy sector
October | 5207.6149 | 5156.7098 | -50.9051 | -0.9775% | 696.1252 | 1.379% | (e.g. production or supply of oil, natural gas and district heat, refineries or furnaces)
November | 5562.4183 | 5624.2428 | 61.8245 | 1.111% | 757.9497 | 1.353%
December | 5779.4841 | 5811.5306 | 32.0464 | 0.5545% | 789.9962 | 1.278%
Total | 61814.9537 | 62604.9498 | 789.9962 | 1.278%
Source: E-Control

## Graf_PNCn
Austrian Electricity Balance
Public Grid (*)
Domestic Consumption (available to the internal market)
(preliminary, partly estimated data)
(*) Including all supply areas on the Austrian federal territory (control areas APG, TIWAG and VKW including VIW)
Source: E-Control

## data_dia_E
Public Grid |  |  | Gross Production | Physical Exchange |  | Domestic Consumption
Year | Month | Month |  | Physical Imports | Physical Exports | Used for Pumped Storage | Own Consumption (auxiliaries) | Delivery to / Use in the Public Grid
|  |  | MWh | MWh | MWh | MWh | MWh | MWh
2016 | Jan | 1 | 4303491.67 | 3526086.079 | 1444671.175 | 492318.888 | 84277.172 | 5808310.514
| Feb | 2 | 4928000.948 | 2487600.582 | 1594142.618 | 397290.273 | 84446.527 | 5339722.112
| Mar | 3 | 4476876.295 | 3048904.666 | 1623443.874 | 296709.721 | 78829.284 | 5526798.082
| Apr | 4 | 4784335.682 | 2101740.317 | 1689840.075 | 264873.388 | 59240.266 | 4872122.27
| May | 5 | 5119814.401 | 1765395.65 | 1735649.416 | 369042.22 | 46439.88 | 4734078.535
| Jun | 6 | 5602328.069 | 932392.831 | 1476110.807 | 279823.149 | 51444.528 | 4727342.416
| Jul | 7 | 5687662.28 | 1307503.081 | 1949941.886 | 241031.223 | 49913.695 | 4754278.557
| Aug | 8 | 5248060.607 | 1609008.706 | 1791915.403 | 323884.738 | 49121.454 | 4692147.718
| Sep | 9 | 4411669.662 | 2153878.424 | 1376056.058 | 332188.853 | 46666.967 | 4810636.208
| Oct | 10 | 4751350.95 | 2375110.471 | 1452124.027 | 397190.296 | 69532.222 | 5207614.876
| Nov | 11 | 5035091.589 | 2450870.717 | 1377840.738 | 471075.508 | 74627.809 | 5562418.251
| Dec | 12 | 5311930.814 | 2502465.149 | 1471562.19 | 473360.921 | 89988.724 | 5779484.128
2017 | Jan | 1 | 5775215.173 | 2829578.782 | 1697459.617 | 565598.779 | 106599.022 | 6235136.537
| Feb | 2 | 4518191.043 | 2971158.433 | 1453120.409 | 586961.062 | 79044.786 | 5370223.219
| Mar | 3 | 5142390.583 | 2767394.76 | 1864775.21 | 515344.442 | 72533.596 | 5457132.095
| Apr | 4 | 4660701.176 | 2637021.282 | 1866625.49 | 483279.229 | 53808.289 | 4894009.45
| May | 5 | 5131029.188 | 2156396.89 | 1948089.918 | 461249.359 | 52356.761 | 4825730.04
| Jun | 6 | 4786531.616 | 2184053.504 | 1785499.365 | 421851.034 | 53462.773 | 4709771.948
| Jul | 7 | 5007477.644 | 2017030.233 | 1808681.584 | 341065.299 | 56158.957 | 4818602.037
| Aug | 8 | 5482284.951 | 1698640.852 | 2013404.182 | 322978.131 | 60015.331 | 4784528.159
| Sep | 9 | 5644703.712 | 1733500.534 | 2081041.164 | 319939.298 | 59890.572 | 4917333.212
| Oct | 10 | 5197026.637 | 2704171.817 | 2179926.506 | 500296.535 | 64265.626 | 5156709.787
| Nov | 11 | 5531512.034 | 2724944.983 | 2081876.883 | 468695.918 | 81641.428 | 5624242.788
| Dec | 12 | 5379106.939 | 2879931.857 | 1810897.481 | 557836.323 | 78774.435 | 5811530.557
Source: E-Control