## CF
Generation in Austria
Public Generators (*)
(last updated: 01 2019)
Energy Capability Factor for run-of-river plants (1)
Month | 2017 | 2018 | MAX 2007 to 2016 | MAX 1997 to 2016 | MAX since 1955 | min 2007 to 2016 | min 1997 to 2016 | min since 1955
Jan | 0.70028 | 1.4816 | 1.352 | 1.3919 | 1.44 | 0.8092 | 0.71504 | 0.7
Feb | 0.93276 | 1.1145 | 1.3072 | 1.4002 | 1.42 | 0.7952 | 0.76184 | 0.64
Mär | 1.0822 | 0.86854 | 1.2777 | 1.3356 | 1.38 | 0.8129 | 0.8129 | 0.68
Apr | 0.84927 | 1.1785 | 1.351 | 1.351 | 1.351 | 0.76379 | 0.76379 | 0.63097
Mai | 0.94191 | 1.0146 | 1.1495 | 1.1722 | 1.1722 | 0.68323 | 0.68323 | 0.68323
Jun | 0.78836 | 0.9141 | 1.0733 | 1.0793 | 1.1253 | 0.78135 | 0.78135 | 0.78135
Jul | 0.87377 | 0.75258 | 1.109 | 1.109 | 1.1321 | 0.76829 | 0.68095 | 0.68095
Aug | 1.0975 | 0.66142 | 1.1031 | 1.1031 | 1.16 | 0.75944 | 0.61191 | 0.61191
Sep | 1.2704 | 0.80916 | 1.3141 | 1.3141 | 1.3141 | 0.81061 | 0.74959 | 0.69026
Okt | 1.0962 | 0.72581 | 1.2412 | 1.4102 | 1.4102 | 0.87771 | 0.81069 | 0.66
Nov | 1.1844 | 0.82206 | 1.4029 | 1.6225 | 1.6225 | 0.78277 | 0.77037 | 0.66
Dez | 1.145 | 1.0255 | 1.2364 | 1.4443 | 1.4443 | 0.79539 | 0.75991 | 0.69
Jahr | 0.9873 | 0.93171 | 1.1107 | 1.1603 | 1.1603 | 0.88151 | 0.86732 | 0.84
(*) In terms of electricity statistics all producers other than autogenerators.
(1) For monthly statistics plants from producers that have a minimum capacity of at least 10 MWe or are connected to the high-voltage grid. All plants for these producers are included.
Source: E-Control

## Res
Generation in Austria
Public Generators (*)
(last updated: 01 2019)
Big reservoirs (2) at end of month
| Month | Energy Content (3) in GWh |  | Fullness Factor in % |  | Fullness Factor in %
[6 empty] | MAX 2002 to 2016 | min 2002 to 2016
|  | 2017 | 2018 | 2017 | 2018
| January | 797.8056 | 1760.159 | 24.41% | 53.85% | 64.47% | 39.71%
| February | 746.3526 | 987.2774 | 22.83% | 30.2% | 51.63% | 25.07%
| March | 640.3879 | 487.8089 | 19.59% | 14.92% | 35.55% | 14.76%
| April | 540.6871 | 737.7983 | 16.54% | 22.57% | 30.17% | 8.371%
| May | 1012.729 | 1235.7408 | 30.98% | 37.8% | 42.96% | 13.42%
| June | 1993.4287 | 1894.1752 | 60.98% | 57.95% | 67.1% | 40.07%
| July | 2557.0026 | 2236.3901 | 78.22% | 68.41% | 82.43% | 59.58%
| August | 2774.0291 | 2550.9147 | 84.86% | 78.04% | 92.3% | 68.99%
| September | 2791.2586 | 2801.2698 | 85.39% | 85.7% | 92.6% | 72.28%
| October | 2789.2973 | 2724.7988 | 85.33% | 83.36% | 90.65% | 61.6%
| November | 2456.5265 | 2334.1703 | 75.15% | 71.41% | 85.34% | 54.94%
| December | 2161.535 | 2096.154 | 66.13% | 64.12% | 75.06% | 42.16%
| Electrical energy capability of covered reservoirs at the end of the reporting period |  |  |  | 2017 | GWh | 3268.8612
[5 empty] | 2018 | GWh | 3268.8612
2017
2018
2017 in %
2017 in %
MAX 2002 to 2016 in %
min 2002 to 2016 in %
(*) In terms of electricity statistics all producers other than autogenerators.
(2) Covering all head installations (reservoirs) that have a minimum capacity of at least 25 MWe or are connected to the high-voltage grid.
(3) Related to the main head installation of a system.
Source: E-Control

## Cal
Generation in Austria
Public Generators (*)
(last updated: 01 2019)
Fuel Stocks (4) at end of month
| Month | Stocks in GWh |  | Stocks in % of Monthly Maximum |  | Stocks in % of Mon. Max.
[6 empty] | MAX 1997 to 2016 | min 1997 to 2016
|  | 2017 | 2018 | 2017 | 2018
| January | 1582.8668 | 1689.2018 | 70.38% | 94.11% | 100% | 63.17%
| February | 1290.7196 | 1460.9722 | 57.39% | 81.4% | 94.36% | 61.7%
| March | 1243.4306 | 1272.1218 | 55.29% | 70.88% | 91.37% | 65.93%
| April | 1362.8448 | 1318.9232 | 60.59% | 73.48% | 94.5% | 70.91%
| May | 1512.8591 | 1438.6816 | 67.26% | 80.16% | 96.23% | 75.42%
| June | 1663.2545 | 1588.758 | 73.95% | 88.52% | 98.4% | 80.66%
| July | 1893.8926 | 1658.5638 | 84.21% | 92.41% | 99.23% | 82.7%
| August | 2122.1713 | 1758.8234 | 94.36% | 97.99% | 100% | 84.39%
| September | 2249.1138 | 1794.8544 | 100% | 100% | 100% | 83.43%
| October | 2209.3133 | 1702.3979 | 98.23% | 94.85% | 100% | 77.31%
| November | 2070.1801 | 1557.2275 | 92.04% | 86.76% | 100% | 71.15%
| December | 1864.7845 | 1359.1892 | 82.91% | 75.73% | 99.8% | 63.87%
2017
2018
2017 in % of Mon. Max.
2018 in % of Mon. Max.
MAX 1997 to 2016 in %
min 1997 to 2016 in %
(*) In terms of electricity statistics all producers other than autogenerators.
(4) Covering fossil fuels in all conventional thermal units that have a minimum capacity of at least 25 MWe or are connected to the high-voltage grid.
Source: E-Control